## CIRC 01.
CÁLCULO DE QUEDA DE TENSÃO
OBRA: Implantação do Sistema de Iluminação Pública da Avenida Paulo Vieira / MS - 080 - Corguinho/MS CIRCUITO 02
NÚMERO: S/N PRIM. 13,8kV SECUN . 220/127V FP. 0,920
(transformador ou aliment.)
DV%*100=[(Coef.Q.Ten.)*Prod.(A*K)]*100/DV
Trecho | Dist(km) | Pot(W) Inicial | Pot(W) com 10% | Corr(A) Inicial | Corr(A) com 20% | Prod(A*km) | Bitola mm² | Coefic. Queda | Cabos | DV |  | DV%*100 | TOTAL
CIRCUITO 02- 20 POSTES TELECÔNICOS DO TIPO CURVO DUPLO, LED 150W
T1 - QC | 0.005 | 6000 | 6000 | 17.1151 | 20.5382 | 0.10269 | 10 | 3.17 | 15 | 220 | 15 | 0.14797 | 0.14797
QC - A | 0.0165 | 6000 | 6000 | 17.1151 | 20.5382 | 0.33888 | 10 | 3.17 | 49.5 | 220 | 49.5 | 0.48829 | 0.63626
A - B | 0.0265 | 2400 | 2400 | 6.8461 | 8.2153 | 0.2177 | 4 | 7.79 | 79.5 | 220 | 79.5 | 0.77087 | 1.4071
B - C | 0.035 | 2100 | 2100 | 5.9903 | 7.1884 | 0.25159 | 4 | 7.79 | 105 | 220 | 105 | 0.89087 | 2.298
C - D | 0.03 | 1800 | 1800 | 5.1345 | 6.1614 | 0.18484 | 4 | 7.79 | 90 | 220 | 90 | 0.65451 | 2.9525
D- E | 0.03 | 1500 | 1500 | 4.2788 | 5.1345 | 0.15404 | 4 | 7.79 | 90 | 220 | 90 | 0.54543 | 3.4979
E - F | 0.035 | 1200 | 1200 | 3.423 | 4.1076 | 0.14377 | 4 | 7.79 | 105 | 220 | 105 | 0.50907 | 4.007
F - G | 0.03 | 900 | 900 | 2.5673 | 3.0807 | 0.092422 | 4 | 7.79 | 90 | 220 | 90 | 0.32726 | 4.3343
G - H | 0.03 | 600 | 600 | 1.7115 | 2.0538 | 0.061614 | 4 | 7.79 | 90 | 220 | 90 | 0.21817 | 4.5524
H -I | 0.035 | 300 | 300 | 0.85576 | 1.0269 | 0.035942 | 4 | 7.79 | 105 | 220 | 105 | 0.12727 | 4.6797
A - J | 0.0085 | 3600 | 3600 | 10.2691 | 12.3229 | 0.10474 | 10 | 3.17 | 25.5 | 220 | 25.5 | 0.15093 | 0.78719
J - L | 0.035 | 3300 | 3300 | 9.4133 | 11.296 | 0.39536 | 10 | 3.17 | 105 | 220 | 105 | 0.56968 | 1.3569
L -M | 0.035 | 3000 | 3000 | 8.5576 | 10.2691 | 0.35942 | 10 | 3.17 | 105 | 220 | 105 | 0.51789 | 1.8748
M - N | 0.035 | 2700 | 2700 | 7.7018 | 9.2422 | 0.32348 | 10 | 3.17 | 105 | 220 | 105 | 0.4661 | 2.3409
N -O | 0.03 | 2400 | 2400 | 6.8461 | 8.2153 | 0.24646 | 10 | 3.17 | 90 | 220 | 90 | 0.35512 | 2.696
O -P | 0.03 | 2100 | 2100 | 5.9903 | 7.1884 | 0.21565 | 6 | 5.25 | 90 | 220 | 90 | 0.51462 | 3.2106
P -Q | 0.03 | 1800 | 1800 | 5.1345 | 6.1614 | 0.18484 | 6 | 5.25 | 90 | 220 | 90 | 0.4411 | 3.6517
Q -R | 0.03 | 1500 | 1500 | 4.2788 | 5.1345 | 0.15404 | 6 | 5.25 | 90 | 220 | 90 | 0.36759 | 4.0193
R - S | 0.03 | 1200 | 1200 | 3.423 | 4.1076 | 0.12323 | 6 | 5.25 | 90 | 220 | 90 | 0.29407 | 4.3134
S - T | 0.035 | 900 | 900 | 2.5673 | 3.0807 | 0.10783 | 6 | 5.25 | 105 | 220 | 105 | 0.25731 | 4.5707
T - U | 0.035 | 600 | 600 | 1.7115 | 2.0538 | 0.071884 | 6 | 5.25 | 105 | 220 | 105 | 0.17154 | 4.7422
U - V | 0.035 | 300 | 300 | 0.85576 | 1.0269 | 0.035942 | 6 | 5.25 | 105 | 220 | 105 | 0.08577 | 4.828
DEMANDA NOTURNA =6000W
PREPARADO POR____________________________ VISTO_____________DATA ____/____/________

## Quant. Condutores e eletrodutos
CABO | Queda de tensão em V/A km fp 0,95 trifásico
#95 | 0.43 |  |  |  | Trechos | Cond. #95mm² |  | Cond. #70mm² |  | Cond. #50mm² |  | Cond. #35mm² |  | Cond. #25mm² |  | Cond. #16mm² |  | Cond. #10mm² |  | Cond. #6mm² |  | Cond. #4mm²
#70 | 0.55 |  |  |  |  | comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total
#50 | 0.76 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 165 | 0 | 225 | 0 | 251.5
#35 | 0.98 |  |  |  | T1 - QC | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 5 |  | 0 |  | 0
#25 | 1.33 |  |  |  | QC - A | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 16.5 |  | 0 |  | 0
#16 | 2.03 |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#10 | 3.17 |  |  |  | A - B | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 26.5
#6 | 5.25 |  |  |  | B - C | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 35
#4 | 7.79 |  |  |  | C - D | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 30
#2,5 | 12.4 |  |  |  | D- E | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 30
[5 empty] | E - F | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 35
CABO | 1 cond. (m) | 2 cond. (m) | 3 cond. (m) |  | F - G | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 30
cabo 95 | 0 | 0 | 0 |  | G - H | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 30
cabo 70 | 0 | 0 | 0 |  | H -I | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 35
cabo 50 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
cabo 35 | 0 | 0 | 0 |  | A - J | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 8.5 |  | 0 |  | 0
cabo 25 | 0 | 0 | 0 |  | J - L | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 35 |  | 0 |  | 0
cabo 16 | 0 | 0 | 0 |  | L -M | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 35 |  | 0 |  | 0
cabo 10 | 173.25 | 346.5 | 519.75 |  | M - N | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 35 |  | 0 |  | 0
cabo 6 | 236.25 | 472.5 | 708.75 |  | N -O | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 30 |  | 0 |  | 0
cabo 4 | 264.075 | 528.15 | 792.225 | 1056.3 | O -P | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 30 |  | 0
Subida dos Postes (m) |  |  |  |  | P -Q | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 30 |  | 0
cabo 4 | 207.9 |  |  |  | Q -R | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 30 |  | 0
cabo 2,5 | 138.6 |  |  |  | R - S | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 30 |  | 0
Eletrodutos |  | comp. (m) | barras de 6m | de #6 a #16 - 1 1/4'' | S - T | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 35 |  | 0
eletroduto FG 1 1/4'' | 26 | 27.3 | 5 | de #25 a #35 - 1 1/2'' | T - U | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 35 |  | 0
eletroduto FG 1 1/2'' | 10.95 | 11.4975 | 2 | de #50 a #70 - 2'' | U - V | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 35 |  | 0
eletroduto FG 2'' |  | 0 | 0 | de #6 a #16 - 1 1/4'' | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
eletroduto PVC 1 1/4'' | 245 | 257.25 |  | de #25 a #35 - 1 1/2'' | DEMANDA NOTURNA =6000W | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
eletroduto PVC 1 1/2'' |  | 0 |  | de #50 a #70 - 2'' | PREPARADO POR____________________________ VISTO_____________DATA ____/____/________ | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
eletroduto PVC 2'' |  | 0 |  |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
total em escavação | 281.95 |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Proteção e comando |  |  |  | Pot. (W) | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
| corrente 20% | Valor de M. |  | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Corrente Max. (A) | 21 |  | trifásico |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
disjuntor | 25.2 | 32A | trifásico |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
contator | 29.4 | 38A | trifásico |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Fus. NH retaredado | 21 | 25A | NH00 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
| 1056.3 |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0

## Plan1
Trechos | Cond. #95mm² |  | Cond. #70mm² |  | Cond. #50mm² |  | Cond. #35mm² |  | Cond. #25mm² |  | Cond. #16mm² |  | Cond. #10mm² |  | Cond. #6mm²
| comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total
0 | 0 | #REF! | 0 | #REF! | 0 | #REF! | 0 | #REF! | 0 | #REF! | 0 | #REF! | 0 | #REF! | 0 | #REF!
T1 - QC | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
QC - A | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
A - B | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | #REF!
B - C | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
C - D | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
D- E | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
E - F | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | 0
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
N -O | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
O -P | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
P -Q | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!